
	25014-20000-04663
	B25VN30789
	Bldg-Addition
	Quality Review Completed 11/7/2025
	EPLAN. Major remodel and 2-story addition to (E) SFD with new attached garage, and new open trellis patio. Work done per Engineer design ***13D Sprinkler required*** 1 of 4 ***OVER RFA LIMIT, ZONING PLAN CHECK PLEASE VERIFY: COVERED CABANA AND DETACH ADU > 800SQFT MUST BE INCLUDED IN TOTAL RFA***

	25019-20000-03534
	B25VN27941
	Bldg-Demolition
	Application Pending 9/19/2025
	*DPI with Posting* to demo existing SFD & detached garage

	25019-20000-03780
	B25VN30028
	Bldg-Demolition
	PC Info Complete 11/6/2025
	ePlan DEMO (E) DETACHED GARAGE

	25019-20000-03781
	B25VN30032
	Bldg-Demolition
	Application Pending 10/9/2025
	1. Demo existing SFD + demo existing detached garage 2. demo existing pool shell + open grading permit for backfill

	25010-20000-05097
	B25VN30789
	Bldg-New
	Quality Review Completed 11/7/2025
	EPLAN. NEW DETACH POOL BATHROOM WITH COVERED PATIO Work done per Engineer design 3 of 4

	25010-20000-05096
	B25VN30789
	Bldg-New
	Quality Review Completed 11/7/2025
	EPLAN. NEW DETACHED ADU PER CITY ORDINACE. Work done per Engineer design ***13D Sprinkler required*** 2 of 4

	25041-20000-56822
	X25VN35403
	Electrical
	Issued 12/4/2025
	100 AMP TEMPORARY POWER POLE

	25030-20000-07032
	B25VN30028
	Grading
	PC Info Complete 11/6/2025
	ePlan BACKFILL (E) POOL - SHELL TO BE REMOVED



